PEACE CORPS
Request for quotation (RFQ) for supplies and services

RFQ Number: 635-FY26-015						

Date : 09/02/2026

Company / Company: _____________________________________________
( Bidder )

Peace Corps/The Gambia has a need for a Diesel Generator set and a regulator with the characteristics is soliciting fixed-price quotations from the vendor community for the supplies detailed below.
 
If you are interested in submitting a quotation, please do so by sending your completed and signed Attachment 1—Vendor Quotation Form [by mail OR by e-mail OR by mail or e-mail] to:

	E-mail: GM-PROCUREMENT@peacecorps.gov

Quotations are due no later than 5:30 Pm on September 16, 2026. Late quotations will not be accepted.

Written questions about this Request for Quotation (RFQ) may be sent in the same fashion to the individual noted above in advance of the RFQ due date. No phone calls please.

Peace Corps will evaluate all quotations received by the deadline based on the minimum requirements and/or evaluation factor(s) shown below. Contingent on the availability of funds and continued need for the supplies and/or services, at the end of the evaluation process, Peace Corps intends to award a firm-fixed-price contract for the purchase of the required supplies and/or services to the selected vendor.

A. Statement of Work/Description of Requirements

Soundproof Generator Set A 45 KVA with ATS changeover switch.

	CHART 01

	Brand, Model
	PERKINS

	Origin
	(has to specify)

	Motor
	Perkins

	Power
	230 – 45KVA / 48KW

	Input voltage 
	400V

	input current 
	415A

	Output voltage
	230-240 v

	output current
	332A

	Frequency
	50Hz

	Alternator
	Leroy- Somer, Stamford etc…..

	battery charger 
	230V/12V battery charger

	Cylinders
	3 – 4 cylinders, but preferably 3 cylinders engine

	Additional Specifications
	The generator will be equipped with an automatic switch that is capable of automatically taking over in the event of a power cut and of supporting all the equipment on the site and which can be maintained at a lower cost and whose spare parts are available.

It is a voltage regulator capable of adapting to fluctuations and drops in alternating current, regulating and protecting electrical equipment and which can be maintained at a lower cost and whose spare parts are available




GUARANTEES OFFERED BY THE SUPPLIER  

A warranty of at least one (1) year is strongly expected as well as the availability of spare parts and after-sales service.

DELIVERY & INSTALLATION CONDITIONS / Programming
	Item N.
	Description
	Delivery time (to be specified)

	001
	Diesel generator set with accessories, Transportation, Installation and Automatic Transfer switch (ATS),
	No Later Than October 16

	002
	Transportation cost of new generator to residence in Bijilo opposite Coco Ocean West Coast Region transportation cost of old generator to U.S. Embassy warehouse
	Same Day as Delivery of New Generator

	003
	After Sale services/Maintenance
	To Be Determined



B. Place of Performance :

Bijilo opposite Coco Ocean
West Coast Region

C. Contract Terms and Conditions:

As an Agency of the United States Government, Peace Corps has an approved contract template that it intends to use for the award. Peace Corps reserves the right to deny making a contract award to a vendor should they refuse to sign the Peace Corps approved contract template.

D. Minimum Criteria:

A quotation will not be considered further if it does not meet the following minimum criteria:

· Perkins brand Model
· 230-45KVA/48KW voltage
· 230V/12V battery charger
· Automatic Switch with Voltage regulator
· Availability of spare parts

E. Evaluation Factors:
Not Applicable

Awards may be made with or without negotiations between the Peace Corps and the selected vendor.  Award may be made to a vendor that provided the lowest priced technically acceptable quotation, or to a vendor other than the one that provided the lowest priced quotation, should that vendor be determined to have provided the best value quotation to the Peace Corps taking technical and cost factors into account.

All vendors that submit quotations in response to this RFQ will be notified of the results.


ATTACHMENT 1 – VENDOR QUOTATION FORM

RFQ Number:  

Vendor:

Authorized Representative:

	Name:

	Position/Title:

	Phone Number:

	E-mail Address:

Quoted Prices (Inclusive of Administrative and/or Overhead Costs 

	Item No
	Description
	Price (GMD)

	001
	Generator in accordance with the statement of work in the RFQ 
	

	002
	Transportation cost of new generator to residence in ………….; transportation cost of old generator to U.S. Embassy warehouse
	

	003
	Installation cost – all related services and supplies as outlined in the RFQ 
	

	004
	After sales services/Maintenance 
	

	Total Price
	
	





Items/Services Included in Total Quoted Price Above but Not Indicated in Chart:

Quoted Work or Delivery Schedule (If Any):

Quoted Payment Terms:

Quoted Warranty Terms (If Any):

Quoted Additional Terms and/or Conditions


SUPPLIER AUTHORIZED REPSENTATIVE	 

Signature:  _______________________________	
     
Date: _______________________________
